FRIENDSHIP PUBLIC CHARTER SCHOOL

REQUEST FOR PROPOSALS FOR

RFP — AUDIOVISUAL AND CABLING SYSTEMS SERVICES 

Friendship is soliciting proposals and qualification statements from parties having specific interests and qualifications in the areas identified in this solicitation. A selection committee will review and evaluate all qualification statements and proposals and may request that the bidders make oral presentations and/or provide additional information.   The selection committee will rely on the qualification statements, proposals, additional information if provided and oral presentations if made, in the selection of finalists and, therefore, bidders should emphasize specific information considered pertinent to this solicitation and submit all information requested.  

Interested parties shall email the response to this RFP to: procurementinquiry@friendshipschools.org. The email subject line should clearly state “RFP — “Audiovisual and Cabling Systems Services” to:
			
Procurement Inquiry 
Friendship Public Charter School (FPCS)
1400 1st Street, NW Suite 300
Washington, DC., 20001

By no later than 4pm, Friday, September 4, 2026

You must sign below in INK; failure to sign WILL disqualify the proposal.
Company Name:__________________________________________________________
CompanyAddress:_________________________________________________________
City, State, Zip Code:______________________________________________________
Taxpayer Identification Number (T.I.N.): _____________________________________
Telephone: _______________ __________ Fax: _______________________________
Email: ________________________________________________________________
Print Name: __________________________ Signature: __________________________
Your signature attests to your proposal to provide the goods and/or services in this proposal according to the published provisions of this Request for Proposal unless modifications or alterations are clearly noted in your proposal submission. 

Friendship Public Charter School Inc. (“Friendship”) reserves the right to reject any and all qualification statements, to cancel this solicitation, and to waive any informalities or irregularities in procedure. 
TABLE OF CONTENTS – REQUEST FOR PROPOSAL PACKAGE
The items below represent components, which comprise this Request for Proposal (RFP) package.  Proposers are asked to review the package to be sure that all applicable parts are included.   It is the Proposers responsibility to be thoroughly familiar with all Requirements and Specifications.  Be sure you understand the following before you return your proposal packet.
1. Cover Sheet: Your company name, address, and your signature (IN INK) should appear on this page
2. Table of Contents: Identifies the order in which the information appears in the document.
3. General Requirements: You should be familiar with all of the General Requirements.
4. Special Requirements/Instructions: This section provides information you must know in order to make a complete and proper proposal.
5. Specifications: This section contains the detailed description of the products/services sought by Friendship Public Charter School.
6. Attachments
a. Proposal Requirement 
b. Insurance Coverage Requirements
c. Financial Statements
d. Proposed Exceptions, Alterations, Additions, or Modifications to RFP (if any)

GENERAL REQUIREMENTS

ACCESS TO RECORDS
Proposer may be required to allow duly authorized representatives of FPCS access to contracts, books, documents, and records necessary to verify the nature, extent, and cost of services provided by the Proposer.

AWARD
FPCS reserves the right to reject any and all proposals, and reserves the sole right at its discretion to accept any proposal(s) it considers most favorable to the interest of FPCS and waive any and all minor irregularities in any proposal(s). FPCS further reserves the right to reject any proposal(s) and seek new proposals through the issuance of a new or amended RFP if such action is deemed in the best interest of FPCS.

OFFER COMPLETION
Completed proposal(s) must be sent to ProcurementInquiry@friendshipschools.org. An authorized company representative should sign the Cover Sheet. Completion of these forms is intended to verify that the proposer has submitted the proposal, is familiar with its contents, and has submitted the material in accordance with all requirements. 

The submission of a response shall be prima facie evidence that the Proposer has full knowledge of the scope, nature, quantity, and quality of work to be performed, the detailed requirements of the project, and the conditions under which the work is to be performed. 

All terms, conditions, specifications, stipulations and supplier requirements stated in the RFP, any attached Appendices to the RFP, and any and all Addenda issued shall become part of the contract entered into between FPCS and the Proposer.

OFFER RETURNS
Proposers must return completed proposals by date stated above.  Late proposals will not be accepted. It is the responsibility of the responding Proposer to assure that the response is received prior to the date/time indicated on the Cover Page of this package.

CONTRACT RENEWALS
Renewals may be made ONLY by written agreement between FPCS and the Proposer.
Any price escalations are limited to those stated by the Proposer in the original proposal.

DISQUALIFICATION OF PROPOSER
Upon signing this offer document, a Proposer certifies that the proposal has not violated the antitrust laws of this state, Business & Commerce Code, or the federal antitrust laws, and has not communicated directly or indirectly the proposal made to any competitor or any other person engaged in such line of business. Any or all proposals may be rejected if FPCS believes that collusion exists among the proposers. Proposals in which the prices are obviously unbalanced may be rejected.

EVALUATION
In evaluating the proposals submitted, FPCS will apply the “Best Value” process in selecting the Proposer to be awarded a contract for this project. Purchase price is not the only criteria that will be used in the evaluation process. The selection process will include, but not be limited to, the following considerations:
1. The purchase price.
2. The Proposer’s overall experience, reputation, expertise, stability and financial responsibility.
3. The quality and range of goods and/or services the firm proposes to provide.
4. The extent to which the goods and/or services meet FPCS needs.
5. The Proposer’s past relationship with FPCS.
6. The ability to provide service in a reliable, expedient and efficient manner.
7. The total long‐term cost to FPCS to acquire the Proposer’s goods or services.
8. Any other relevant factor(s) specifically listed in the request for proposals.

All proposals must be valid for a minimum period of one hundred‐twenty (120) days from the due date of this RFP. Proposers shall furnish in a timely manner to FPCS such additional information as FPCS may reasonably require.  

FPCS reserves the right to contact references from the Proposer’s client list, or any other persons considered relevant by FPCS.

All costs associated with the project must be enumerated in the proposal. Any costs associated with the project not explicitly enumerated and discussed in the proposal will not be honored. Contract prices and terms are to remain firm through project completion.  The Proposer shall provide information on their standard fee arrangement for any goods and/or services proposed, and any discounts offered.

DOCUMENT INTERPRETATION
In the event of any conflict of interpretation of any part of this overall document, the interpretation of FPCS shall govern consistent with the laws of the District of Columbia.
Wherever the term “Proposer” is used throughout the RFP, it includes the Proposer’s agents, employees, directors and/or assigns even if not specifically delineated.

HOLD HARMLESS AGREEMENT
The successful Proposer(s), its agents, employees (paid or volunteer), directors and/or assigns shall indemnify, hold harmless, and defend FPCS, its directors, officers, and employees (paid or volunteer) from and against any and all claims, demands, causes of action of whatever kind or nature arising out of error, omission, misrepresentation, negligent act, conduct or misconduct of the Proposer and its agents, employees(paid or volunteer), directors and/or assigns in the provision of goods or the performance of services arising out of the preparation of this proposal and execution and performance of any contracts resulting there from. Such indemnification shall also include reasonable attorneys’ fees, court costs, and expenses.

INSPECTIONS
FPCS reserves the right to inspect any item(s) or service location for compliance with specifications, requirements, and the needs of FPCS. If a Proposer cannot furnish a sample of a proposed item, where applicable, for review, or fails to satisfactorily show an ability to perform, FPCS can reject the proposal as inadequate.

TESTING
FPCS reserves the right to test equipment, supplies, materials and goods proposed for quality, compliance with specifications and ability to meet the needs of FPCS. Demonstration units must be available for review. Should the goods or services fail to meet requirements and/or be unavailable for evaluation, the proposal is subject to rejection.

INVOICES AND PAYMENTS
The Proposer who is awarded the contract is required to send all invoices to FPCS’s reference point of contact and to Accounts Payable 1400 1st Street NW Washington DC 20001. Invoices shall be provided to FPCS in a timely manner. The Proposer who is awarded the contract is required to invoice FPCS within 30 days of providing goods and/or services to FPCS.  

In the event FPCS is presented with invoices, statements, reports, etc. that are incomplete, or inaccurate, FPCS may be required to perform substantial research which could result in delay of payment.  FPCS will not be responsible for any interest charges and/or late fees as a result of delayed payment due to time delays caused by inadequate, incomplete, or inaccurate information provided in invoices.

PRICING
Prices for all goods and/or services shall be negotiated to a firm amount for the duration of the contract or as agreed to in terms of time frame and/or method of determining price escalations, if any by Proposer. All prices and methods of determining prices must be written in ink or typewritten. Where unit pricing and extended pricing differ, unit pricing prevails.

SUPPLEMENTAL MATERIALS
Proposers are responsible for including all pertinent product data in the returned offer package. Literature, brochures, data sheets, specification information, completed forms requested as part of the offer package and any other facts which may affect the evaluation and subsequent contract award should be included. Materials such as legal documents and contractual agreements, which the Proposer wishes to include as a condition of the proposal, must also be in the returned proposal package. Failure to include all necessary and proper supplemental materials may be cause to reject the entire proposal.

TAXES
FPCS is exempt from federal, state and local taxes. In the event that taxes are imposed on the goods or services purchased, FPCS will not be responsible for payment of the taxes. The Proposer awarded the contract shall absorb the taxes entirely. Certificates of exemption will be furnished upon written request to FPCS.

TERM CONTRACTS
Any contract which results from this RFP shall run for three year period with an exclusive option by FPCS to renew on an annual basis. There is to be an additional 90‐day transitional period added to the end of the contractual agreement which may be exercised at the option of FPCS.  The contractual prices, terms and conditions are to remain in force during the transitional period.  

The successful Proposer, as determined by FPCS, shall be required to execute a contract to furnish all goods and/or services and other deliverables required for successful completion of the proposed project.  No Proposer shall obtain any interest or right in any award until FPCS has executed a contract, and any such interest and rights shall be subject to the terms and conditions as contained in such contract.  

The successful Proposer may not assign, sell, or otherwise transfer its interest in the contract award or any part thereof, without prior written consent from the FPCS.

QUANTITY
There is no guaranteed amount of business, expressed or implied, to be purchased or, contracted for by FPCS in the initial maximum 1 year contract term or in subsequent renewals which may or may not be negotiated and agreed to by FPCS with any proposer(s). However, the Proposer(s) awarded the contract shall furnish all required goods and/or services to FPCS at the stated price, when and if required.

CONTRACT TYPE
The preferred contract type to be awarded is a fixed fee contract. However, if a Proposer has reason to believe a better (more cost effective) method is practical, then the Proposer is encouraged to offer that better pricing option as an alternative in its submitted proposal. FPCS will consider that type of contract as it compares with other recommended contract options. The contract type providing the best value, over the longest period of time is what FPCS seeks. Proposers are required to provide FPCS with a menu of any optional services offered. Each service must be priced separately and independent of any other services offered or rendered.

TERMINATION
FPCS reserves the right to terminate the contract without cause with 60 days prior written notice for convenience and with 30 days prior written notice for cause, if Proposer breaches any of the terms therein, including warranties of proposer or if the proposer becomes insolvent or commits acts of bankruptcy. Such right of termination is in addition to and not in lieu of any other remedies which FPCS may have in law or equity. Cause may be construed as, but not limited to, failure to deliver the proper goods and/or services within the proper amount of time, and/or to properly perform any and all services required to FPCS’s satisfaction and/or to meet all other obligations and requirements. 

If the Proposer breaches any provision of the proposal stipulations, becomes insolvent, enters voluntary or involuntary bankruptcy, or receivership proceedings, or makes an assignment for the benefit of creditors, FPCS will have the right (without limiting any other rights or remedies that it may have in the contract or by law) to terminate any contract with 30 days prior written notice to the Proposer.  

FPCS will then be relieved of all obligations, except to pay the reasonable value of the supplier’s prior performance (at a cost not exceeding the contract rate). The Proposer will be liable to FPCS for all costs exceeding the contract price that FPCS incurs in completing or procuring the service as described in the proposal. FPCS’s right to require strict performance of any obligation in this contract will not be affected by any previous waiver, forbearance, or course of dealing.

TRANSITION
Once an executed contract with the Proposer terminates for any reason, FPCS reserves the right to have a period of time to transition the contracted goods and/or services provided to FPCS by the Proposer to a new provider. During this transition period, FPCS will pay for these goods and/or services to the provider at the negotiated rate(s) in existence at that time. FPCS further reserves the right to establish the length of the transition period and communicate this transition time period to the provider; however, such transition period shall not exceed 180 days.

FUNDING OUT OPTION
Any contract resulting from this RFP is contingent upon the continued availability of budget appropriations and is subject to cancellation, without penalty to FPCS, either in whole or in part, if funds are not appropriated by the FPCS Board of Directors, or otherwise not made available to FPCS.  All outstanding invoices will be paid upon cancellation.

WARRANTIES
Proposers shall furnish all data pertinent to warranties or guarantees which may apply to items in the proposal. Proposers may not limit or exclude any implied warranties.

ASSOCIATION
Proposers may not use the FPCS official logo(s), or any phrase associated with FPCS, without the written permission from FPCS.

EXCEPTIONS, ALTERATIONS, ADDITIONS AND MODIFICATIONS
If any exceptions, alterations, additions, or modifications are submitted by Proposer to any portion of this RFP, the Proposer must clearly indicate the exceptions, alterations, additions and modifications and include a full explanation as a separate attachment to the proposal. The failure to identify exceptions, alterations, or modifications will constitute acceptance by the proposer of the RFP as proposed by FPCS.   FPCS reserves the right to reject a proposal containing exceptions, alterations, additions, or modifications.

PROPOSAL PREPARATION COSTS
All costs related to the preparation and submission of this proposal shall be paid by the Proposer.  Issuance of this RFP does not commit FPCS, in any way, to pay any costs in the preparation and submission of the proposal, nor does the issuance of the RFP obligate FPCS to award a contract or purchase any goods and services stated in the RFP.

RETENTION OF PROPOSAL DOCUMENTATION
All proposal materials and supporting documentation that is submitted in response to this proposal becomes the permanent property of FPCS.

MODIFICATION/WITHDRAWAL OF PROPOSAL
Proposals may be modified in writing at any time prior to the due date. Proposals may be withdrawn in writing, by facsimile written transmission, or in person before the response date.


SPECIAL REQUIREMENTS/INSTRUCTIONS

EVALUATION AND AWARD
This RFP in no manner obligates FPCS to the eventual rental, lease, and purchase, etc. of any equipment or service described, implied or which may be proposed, until confirmed by a written contract. Progress toward this end is solely at the discretion of FPCS and may be terminated at any time prior to the signing of the contract.  FPCS may initiate discussions with supplier personnel authorized to contractually obligate the supplier. Discussions will develop into negotiating sessions with the successful Proposer(s). 

If FPCS is unable to agree to contract terms, FPCS reserves the right to terminate contract negotiations with a Proposer and initiate negotiations with another Proposer. FPCS reserves the right to select services and products from any number of Proposers if in its sole discretion it is in the best interest of FPCS to do so. Evaluation will consider the proposal(s) best meeting the needs and requirements of FPCS and such evaluation and determination of best value shall be solely at the discretion of FPCS.

Purchase price is not the only criteria that will be used in the evaluation process.
Submission of a proposal implies the Proposer’s acceptance of the evaluation criteria and all other terms and conditions as set forth  in this RFP as well as the Proposer’s recognition that subjective judgments can and will be made by those individuals evaluating proposals.

FPCS RESERVES THE RIGHT TO AWARD THE CONTRACT TO ONE PROPOSER/CONTRACTOR, OR MORE THAN ONE PROPOSER/CONTRACTOR IN ITS SOLE DISCRETION. 

NON‐PERFORMANCE BY PROPOSER/CONTRACTOR
Performance, before and during the contract term, will be a major consideration of current contract award, renewals, and future award considerations. Failure to perform, in any sense relative to this contract, may result in the probation and/or termination of this agreement by FPCS on the basis of nonperformance. Nonperformance shall be determined as follows:
1. Failure to meet and maintain all qualifications required in this RFP;
2. Failure to meet required operating performance standards in the time period required and consistent with workmanlike manner.  Workmanlike manner means work that is "completed in a skillful manner and is non-defective.";
3. Failure to keep and maintain all required insurance coverage;
4. Failure to cure deficiencies within a reasonable amount of time as stated herein.

INSURANCE
All proposers must provide evidence of insurance or insurability.

CONFLICT OF INTREST
The prospective proposer, its agents, employees, directors and/or assigns, shall disclose any financial, business or other relationship with FPCS that may have an impact upon the outcome of this contract or potential future of the FPCS projects resulting from this effort. The prospective proposer, its agents, employees, directors and/or assigns shall also list current clients who may have a financial interest in the outcome of this contract or FPCS projects that will follow. In particular, the prospective proposer its agents, employees, directors and/or assigns shall disclose any financial interest or relationship with any company that might submit a bid on the FPCS projects. If applicable, please complete Attachment F.

NON DISCRIMINATION
The selected proposer shall comply, and shall require its  agents, employees, directors and/or assigns to comply, with all applicable federal, state, and local laws, ordinances, rules, and regulations in regard to nondiscrimination in employment because of race, creed, color, ancestry, national origin, religion, sex, marital status, age, medical condition, pregnancy, disability, or other prohibited basis.


RFP SPECIFICATIONS – Audiovisual and Cabling Systems Services 
Friendship Public Charter School is seeking a qualified integrator to furnish, install, program, test, and commission a complete audiovisual system and a complete structured cabling system in support of the tenant build out at 999 N Capitol Street NE, Washington, DC 20002. The work spans first and second floor offices, conference rooms, public areas, a mock classroom, and a divisible multipurpose room.
 The successful respondent shall provide all labor, materials, tools, supervision, project management, engineering, programming, and commissioning necessary to deliver fully operational systems. Respondents must be available to begin work immediately upon award and shall price the work as a single award covering both the audiovisual and structured cabling scopes.
 2.0  General Requirements
Products identified in this Scope of Work establish the basis of design. Substitutions of equal or greater technical capability may be proposed and shall be clearly identified in the response, with datasheets, for owner approval.
All work shall comply with applicable TIA and EIA standards, BICSI best practices, the National Electrical Code, and District of Columbia code. The respondent shall hold all licensure required to perform low voltage and electronic systems work in the District of Columbia.
Work is anticipated during normal business hours, Monday through Friday. Respondents shall identify any portion of the work requiring off hour or weekend performance.
The respondent shall coordinate with the general contractor, electrical contractor, and other trades, and shall attend coordination and progress meetings throughout the installation period.
Equipment identified as owner furnished shall be received, installed, and integrated by the respondent. Owner furnished equipment includes streaming media players, digital signage media players, the interactive display and mount in the mock classroom, and wireless access points and their mounting hardware.
Systems shall be delivered fully commissioned, labeled, tested, and documented, with a minimum one year warranty on workmanship from the date of owner acceptance.
 3.0  Audiovisual Systems
3.1  Multipurpose Room
The multipurpose room is a reconfigurable space that shall operate as one combined room or as two independently functioning rooms, with automatic room state detection at the dividing partition. The space shall support wired presentation, wireless presentation, native Zoom Rooms conferencing, and bring your own meeting conferencing. The breakout space shall support wired and wireless presentation when operated independently, and shall inherit all classroom features when combined. Overhead speakers in the rear zones of both rooms shall be independently switchable to support soft breakout groupings.
Displays: four (4) 85 inch commercial 4K displays, two per room, on flat panel wall mounting systems
Presenter station: one (1) 33 inch wide lectern with a 24 inch confidence monitor, wired HDMI input, and USB interface cable for bring your own meeting use (basis of design: Middle Atlantic L5 custom, Samsung QB24C)
Wireless presentation: two (2) wireless presentation gateways, one serving the MPR and the combined room and one dedicated to the breakout (basis of design: Mersive MP-920E)
Wall plate encoder to the right of the MPR displays for direct HDMI presentation in the divided configuration (basis of design: Crestron DM-NVX-E20-2G)
AV over IP distribution: one (1) 8 slot card chassis, three (3) encoder and decoder cards, five (5) encoder cards, five (5) decoders, one (1) encoder and decoder, and two (2) audio over IP converters (basis of design: Crestron DMF-CI-8, DM-NVX-360C, DM-NVX-E30C, DM-NVX-D30, DM-NVX-360, DM-NAX-AUD-IO)
Audio playback: eight (8) 6.5 inch zero bezel ceiling loudspeakers in 101C and twelve (12) 6.5 inch pendant loudspeakers in the open ceiling of MPR (basis of design: QSC AD-C6T-ZB, AD-P6T)
Audio processing: one (1) audio processor with 24 local I/O channels, one (1) multichannel amplifier, one (1) USB bridge, and one (1) 32 by 32 channel Dante license (basis of design: QSC CORE 24f, MP-A80V, I/O USB Bridge, SLDAN-32-P)
Video conferencing: one (1) Zoom Rooms compute appliance and two (2) network PTZ cameras with 12x optical zoom, one wall mounted at the front of MPR and one ceiling mounted at the rear (basis of design: Crestron CCC-110-Z, QSC NC-12x80)
Microphones: six (6) ceiling array microphones, two in 101C and four in 101B, plus a wireless microphone system consisting of one (1) four channel access point, one (1) four bay networked dock, one (1) bodypack transmitter, and two (2) handheld transmitters (basis of design: Shure MXA920W-R, MXW Next family)
Control: one (1) control processor, two (2) 10.1 inch touch panels serving the lectern and the 101B wall, and one (1) ceiling mounted partition sensor for automatic room combine and divide (basis of design: Crestron CP4N, TSW-1080-B, GLS-PART-CN)
Infrastructure: one (1) equipment rack located in 101E Storage or 112 LAN, one (1) 48 port PoE+ managed switch, and one (1) 9 outlet rackmount power center (basis of design: Netgear GSM4248PX-100NAS, Middle Atlantic PDX-920R-SP)
3.2  Reception Areas (2 in total)
Each reception area shall receive a digital signage display driven by an owner furnished media player, with scheduled on and off control.
Two (2) 55 inch commercial 4K signage displays on tilt wall mounts (basis of design: Samsung QB55C, Chief RLT3)
Two (2) smart display controllers installed behind the displays for schedule based and video sync based power control (basis of design: Crestron HD-CTL-101)
Installation and integration of two (2) owner furnished media players behind the displays
3.3  Conference Rooms (8 in total)
Each conference room shall provide a native Zoom Rooms experience with an all in one collaboration bar serving as appliance, camera, microphone, and speaker, plus wired presentation and bring your own meeting capability at the table.
Displays sizes: one (1) 65 inch; two (2) 75 inch in Rooms; four (4) 85 inch; one (1) 98 inch(basis of design: Samsung QB65C, QB75C, QB85C, QM98C)
Mounting: seven (7) flat panel wall mounting systems and one (1) heavy duty mounting system (basis of design: Chief AS3LD, Chief XTM1U)
Eight (8) collaboration bars, consisting of seven (7) standard units and one (1) higher capacity unit(basis of design: Neat Bar Gen 2, Neat Bar Pro)
Eight (8) tabletop touch panel controllers running the Zoom Rooms interface (basis of design: Neat Pad)
Eight (8) ceiling occupancy sensors and eight (8) smart display controllers for automated system power control (basis of design: Crestron GLS-ODT-C-NS, HD-CTL-101)
Eight (8) HDMI over CATx extender sets and eight (8) USB over CATx extender sets, transmitters at the table and receivers behind the display (basis of design: Comprehensive CHE-HDBT250, Turtle AV TAVUSBEXTKIT1)
3.4  Hub Area
One (1) 85 inch commercial 4K display on a flat panel wall mounting system (basis of design: Samsung QB85C, Chief AS3LD)
Installation and integration of one (1) owner furnished streaming media player behind the display
One (1) ceiling occupancy sensor and one (1) smart display controller (basis of design: Crestron GLS-ODT-C-NS, HD-CTL-101)
3.5  Mock Classroom 
Installation of one (1) owner furnished interactive display on the owner furnished mount, including connection and functional verification
3.6  Chief Offices
Nine (9) 55 inch commercial 4K displays on tilt wall mounts (basis of design: Samsung QB55C, Chief RLT3)
Installation and integration of nine (9) owner furnished streaming media players behind the displays, controlled by the manufacturer handheld remote
Nine (9) HDMI wall plates installed below each display at standard receptacle height
3.7  Executive Offices
Two (2) 65 inch commercial 4K displays on flat panel wall mounting systems (basis of design: Samsung QB65C, Chief AS3LD)
Two (2) collaboration bars and two (2) tabletop touch panel controllers providing a native Zoom Rooms experience (basis of design: Neat Bar Gen 2, Neat Pad)
Two (2) HDMI over CATx extender sets and two (2) USB over CATx extender sets for wired presentation and bring your own meeting use (basis of design: Comprehensive CHE-HDBT250, Turtle AV TAVUSBEXTKIT1)
Installation and integration of two (2) owner furnished streaming media players behind the displays
4.0  Structured Cabling System
The respondent shall furnish and install a complete structured cabling system serving both floors, terminated in the first and second floor telecommunications rooms.
4.1  Horizontal Cabling
Ninety six (96) wall outlets, each with two (2) Cat6 CMP cables terminated on Cat6 jacks in a 2 port faceplate
Sixteen (16) floor box outlets, each with two (2) Cat6 CMP cables terminated on Cat6 jacks in a 2 port 106 bezel
Two (2) reception furniture outlets, each with four (4) Cat6 CMP cables terminated on Cat6 jacks in a 4 port furniture faceplate
Fifty one (51) furniture outlets, each with two (2) Cat6 CMP cables terminated on Cat6 jacks in a 3 port furniture faceplate with blank
One (1) quad wall outlet with four (4) Cat6 CMP cables terminated on Cat6 jacks in a 4 port faceplate
One (1) wall phone outlet with one (1) Cat6 CMP cable terminated on a Cat6 jack in a stainless steel wall phone faceplate
Two (2) time clock outlets, each with one (1) Cat6 CMP cable terminated on a Cat6 jack in a 2 port surface mount box, final locations to be determined
Twenty seven (27) wireless access point outlets, each with one (1) Cat6A CMP cable terminated on a Cat6A jack with a Cat6A RJ45 ceiling connector
All cables shall run from the work area outlet to the applicable telecommunications room for termination
4.2  Backbone Cabling
One (1) 12 strand armored OM4 fiber run from the first floor telecommunications room to the second floor telecommunications room
Two (2) 1U fiber enclosures, one in each telecommunications room
Fiber terminations using LC to LC cassettes with pigtails
4.3  Telecommunications Room Buildout
Two (2) four post equipment racks
Four (4) 6 inch double sided vertical wire managers
Four (4) 12 inch ladder rack sections and four (4) wall angle brackets
Two (2) butt splice kits and all support hardware required for a complete installation
Bonding of respondent installed racks and cable tray to the TMGB or TGB in accordance with applicable standards
4.4  Patch Cords and Access Point Installation
Three hundred forty seven (347) 7 foot Cat6 patch cords at the work area outlets
Three hundred forty seven (347) 10 foot Cat6 patch cords in the telecommunications rooms
Twenty seven (27) 10 foot Cat6A patch cords in the telecommunications rooms
Installation of twenty seven (27) owner furnished wireless access points and mounting hardware
Patching shall follow a schedule provided by the owner information technology group
5.0  Testing, Training, and Closeout
All Cat6, Cat6A, and fiber cabling shall be labeled, tested, and certified using a Fluke DSX tester or equivalent, with marked prints and full test results delivered to the owner at project completion.
Audiovisual systems shall be commissioned and functionally tested in every space prior to owner acceptance.
End user training shall be provided on all delivered systems, with an attendance record submitted to the owner.
Closeout documentation shall be delivered in digital format and shall include: major equipment datasheets; a device information worksheet listing make, model, description, device identifier, serial number, MAC address, IP information, and firmware version; and drawings including a coversheet and index, general notes and symbol legend, device floor plan, device ceiling plan, device elevations, system line diagrams, and as built drawings.
Weekly written status reports shall be provided during the project covering submittal, procurement, pre deployment, installation, and commissioning progress, along with open and closed issues, requests for information, and change orders.
A final acceptance document shall be executed by the owner confirming that all scoped requirements have been fulfilled.
Proposal Requirements (Attachment A)

Proposals shall include, at a minimum, the following information organized as follows in a qualification statement:

1. A brief discussion of the consultant’s/company’s history, and services offered. Briefly state the Proposer understands of the work to be done and make a positive commitment to perform the work within the required time period.
2. Clearly state proposed fees and cost for services.

3. Resumes of key staff that will provide services and training.

4. Names and contact information of at least three client references.

5. Provide proof of CBE as firms certified as CBE will receive preferential consideration.  See http:https://dslbd.dc.gov/getcertified

6. A proposed signed contract, which includes terms, payments and amount contract, will not to exceed.


 INSURANCE COVERAGE REQUIREMENTS (Attachment B) 
General & Excess Liability Minimum Coverage
	General Liability: 
	1,000,000

	Umbrella Liability:  
	1,000,000




_____________________________________
Company Name

____________________________________
Signature of Authorized Agent

____________________________________
Date Signed

FPCS will be named as additional insured on certificate of insurance if our firm or company is awarded a contract.

Financial Statements (Attachment C)
Proposer should submit as Attachment C current financial statements, preferably for the past two years, which have been audited or reviewed by a Certified Public Accountant.

Proposed Exceptions, Alterations, Additions, or Modifications to RFP (Attachment D)
Proposer should submit as Attachment D, any and all proposed exceptions, alterations, additions, or modifications.

For further information, contact Ruby Sherman at procurementinquiry@friendshipschools.org. 






ATTACHMENT F                      

CONFLICT OF INTREST DISCLOSURE

As a prospective vendor/supplier, its agents, employees, directors and/or assigns, you shall disclose any financial, business or other relationship with FPCS that may have an impact upon the outcome of this contract or potential future of the FPCS projects resulting from this effort. The prospective proposer, its agents, employees, directors and/or assigns shall also list current clients who may have a financial interest in the outcome of this contract or FPCS projects that will follow. In particular, the prospective proposer its agents, employees, directors and/or assigns shall disclose any financial interest or relationship with a member of the school’s board or leadership. 

Name of party that poses conflict                            Relationship/Interest      

______________________________________________________________________________


______________________________________________________________________________


______________________________________________________________________________


______________________________________________________________________________


Company Name

____________________________________
Signature of Authorized Agent

____________________________________
Date Signed






END OF FPCS RFP PACKAGE.
1

